INFRALAN® 24-port distribution panel 19" 1U RAL 9005

INFRALAN® 24-port distirbution panel 19" 1U RAL 9005,

for holding up to 24 UTP-INFRALAN®- keystones, unshielded , inclusive cable management, strain relief via cable tie, ANEXT optimized, ANSI/TIA 568-C.2 and ISO 11801 Cat.6A certified by ETL.

Steel frame with (ABS+PC) plastic front cover.

Dimensions: hxwxd 44,45x482x125mm

Brand: INFRALAN®

Item number: IVF-24-SW-UTP